### Weekly Checklist

This checklist must be used every week to verify that fire safety equipment does not have any obvious damage preventing it from functioning in an emergency.

Each worker to complete at least one ‘weekly fire safety equipment check’ every 12 months in each house that they work in.

For Items 1 -4 this is a VISUAL inspection only as the equipment is checked monthly by an external professional.

For Items 5 -10 if action is needed, it is our responsibility to rectify.

Mark the appropriate box as you check each item. If an item is damaged or you are unsure of the condition, mark action required and make a report to the house coordinator or manager.

| ### Address: | 107 Hurd St Portland Vic |  |  |
| --- | --- | --- | --- |
| ### Visual Inspection Date: | #### day / month / year | #### Checked by: (please print name) |  |
| ### Participants present during Fire Check: |  |  |  |

| 1. Smoke Alarms – do not activate smoke alarms |  | 2. Fire Indicator Panel - do not activate the panel |  |
| --- | --- | --- | --- |
| Checked  | Action required  | Checked  | Action required  |
| This is a visual check only. Smoke alarms are activated/checked monthly by an external company. - All smoke alarms appear to be mounted correctly - No obvious damage to a smoke alarm - Green indicator light is on all smoke alarms Strobe alarm - Bedroom Aqua & Bedroom Red Checked  Action required  - No obvious damage to alarm |  | - No fault lights on the alarm panel |  |
| 3. Sprinkler Heads |  | 4. External Sprinkler Control Cabinet |  |
| Checked  | Action required  | Checked  | Action required  |
| - At least 500mm clearance around them - Free of unrelated attachments or decorations - No obvious damage to the sprinkler heads or exposed pipe work - No sign of water leaking - Flat or conical disk concealing a sprinkler head has not been damaged or dislodged |  | Open the cabinet using the key from the fire panel - No loose or disconnected wires - No obvious damage or water leaking - Record the water pressure: - Water pressure top gauge kPa: _____________ - Water pressure bottom gauge kPa: _____________ Note: A small difference of less than 50 kPa is normal. If pressure difference is 50–100 kPa, record and monitor next week. If it exceeds 100 kPa, gauge reads zero kPa or sudden change from previous readings report immediately. |  |
| 5. Exits and Exit Paths |  | 6. Evacuation Packs |  |
| Checked  | Action required  | Checked  | Action required  |
| ### Internal - All paths to exits are clear, not obstructed or restricted - Exit doors are easy to open (i.e. doors do not jam) ### External - There are no obstructions or hazards along the path which may hinder or injure persons evacuating Paths to the designated assembly areas are clear and easy to follow |  | - Evacuation pack located in designated location - Contents and information on people are current - Contents checklist signed |  |
| 7. Fire Prevention – Housekeeping |  | 8. Fire Extinguishers x 3 |  |
| Checked  | Action required  | Checked  | Action required  |
| ### Internal - Rubbish is stored and disposed of in appropriate containers until removed - Paper or clothing is not allowed to accumulate inside (eg newspaper allowed to stack up, piles of clothing stored in rooms, etc) - Designated walkways and passages are clear - Smoking items stored appropriately and ashtrays emptied and cleaned regularly - Combustible materials are kept away from hot elements (eg tea towels kept away from the stove) ### External - Garden is maintained so it is not overgrown |  | - Fire extinguisher/s located in their designated location and securely mounted - Fire extinguisher/s easily obtainable in an emergency - Fire extinguisher has the safety pin and security tie intact. - Indicator needle on the gauge in the green sector Fire extinguishers are located in the outside patio hallway and garage. |  |
| 9. Fire Blankets x 2 |  | 10. Clothes Dryer |  |
| Checked  | Action required  | Checked  | Action required  |
| - Fire blanket is securely mounted in its designated position - Fire blanket easily obtainable in an emergency - No obvious damage to the fire blanket - The fire blanket has not been used Fire Blankets are in the kitchen/dining area, and outside patio. |  | - Filter is clean - Surrounds of machine are clear of obstruction - No obvious damage to power leads |  |

Record keeping: You must file the completed checklist for reference.

- Scan and file in K:\Ameeyk House\Fire\FIRE CHECKS\Ameeyk Weekly Fire Checklist HL-07

- Hard copy file in respite house folder

Source: https://providers.dffh.vic.gov.au/fire-safety-equipment-weekly-checklist-community-service-organisations-word