Date of Inspection:	/	/	Time				Inspectors

Location of Inspection (site)

| # Checklist Item |  | ## Result of Inspection |  | Action Required |  | Comments | Responsible Person | Tick if completed |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Good | Unsatisfactory | To be Scheduled | Immediately |  |  |  |
|  | Fire |  |  |  |  |  |  |  |
| - Extinguishers in place, clearly marked for type of fire and recently serviced |  |  |  |  |  |  |  |  |
| - Adequate direction notices for fire exits |  |  |  |  |  |  |  |  |
| - Exit doors easily opened from inside |  |  |  |  |  |  |  |  |
| - Exits clear of obstructions |  |  |  |  |  |  |  |  |
| - Fire alarm system functioning correctly |  |  |  |  |  |  |  |  |
| - Fire instructions available and displayed |  |  |  |  |  |  |  |  |
|  | Emergency Information Noticeboard |  |  |  |  |  |  |  |
| - Check - only Emergency notices on board |  |  |  |  |  |  |  |  |
| - Check the emergency phone numbers are there, including On Call |  |  |  |  |  |  |  |  |
| - Emergency Evacuation Plan |  |  |  |  |  |  |  |  |
|  | Electrical |  |  |  |  |  |  |  |
| - Leads tested and tagged |  |  |  |  |  |  |  |  |
| - No broken plugs, sockets or switches |  |  |  |  |  |  |  |  |
| - No frayed, strained or damaged leads |  |  |  |  |  |  |  |  |
| - No temporary leads on the floor |  |  |  |  |  |  |  |  |
| - Emergency shut-down procedures in place where relevant |  |  |  |  |  |  |  |  |
|  | General Lighting |  |  |  |  |  |  |  |
| - Adequate lighting (natural or electric) |  |  |  |  |  |  |  |  |
| - No direct or indirect glare |  |  |  |  |  |  |  |  |
| - Light fittings clean and in good condition |  |  |  |  |  |  |  |  |
| - Emergency lighting operable if exists |  |  |  |  |  |  |  |  |
|  | Walkways |  |  |  |  |  |  |  |
| - Entry and across walkways kept clear |  |  |  |  |  |  |  |  |
| - No electrical leads crossing walkways |  |  |  |  |  |  |  |  |
| - Walkways adequately and clearly marked |  |  |  |  |  |  |  |  |
| - Unobstructed vision at intersections |  |  |  |  |  |  |  |  |
| - Retail Shade house (Bart) - walkways clear & trip-free |  |  |  |  |  |  |  |  |
| - Back Shade house (Barney) walkways clear & slip -free |  |  |  |  |  |  |  |  |
| - Poly-tunnel (Selma) walkways clear & slip-free |  |  |  |  |  |  |  |  |
| - Poly-tunnel (Patty)walkways clear & slip-free |  |  |  |  |  |  |  |  |
| - Poly-tunnel (Bender) walkways clear & trip-free |  |  |  |  |  |  |  |  |
|  | Machine - Gerni |  |  |  |  |  |  |  |
| - Kept clean – Exterior |  |  |  |  |  |  |  |  |
| - Adequately stored (Ron’s shed) |  |  |  |  |  |  |  |  |
| - Power cord and plug integrity |  |  |  |  |  |  |  |  |
|  | Rubbish |  |  |  |  |  |  |  |
| - Bins located at suitable points |  |  |  |  |  |  |  |  |
| - Bins emptied regularly |  |  |  |  |  |  |  |  |
|  | Work Benches |  |  |  |  |  |  |  |
| - Tools/equipment storage |  |  |  |  |  |  |  |  |
| - Work height suitable to users |  |  |  |  |  |  |  |  |
| - No sharp edges |  |  |  |  |  |  |  |  |
| - Work benches stable & in safe condition |  |  |  |  |  |  |  |  |
| - Retail shade house plant stands in safe condition |  |  |  |  |  |  |  |  |
| - Retail (purple) plant stands in benches safe condition |  |  |  |  |  |  |  |  |
| - Poly tunnel (Selma) benches safe condition |  |  |  |  |  |  |  |  |
| - Poly tunnel (Patty) benches safe condition |  |  |  |  |  |  |  |  |
| - Poly tunnel (Bender) benches safe condition |  |  |  |  |  |  |  |  |
| - Retail Shade house (Bart) benches safe condition |  |  |  |  |  |  |  |  |
| - Back Shade house (Barney) benches safe condition |  |  |  |  |  |  |  |  |
|  | Storage |  |  |  |  |  |  |  |
| - Materials stored in containers and bins wherever possible |  |  |  |  |  |  |  |  |
| - Storage designed to minimise lifting problems, i.e. height between knee and shoulder |  |  |  |  |  |  |  |  |
| - Floors clear of rubbish |  |  |  |  |  |  |  |  |
|  | Chemicals on site |  |  |  |  |  |  |  |
| - MSDS for all chemicals |  |  |  |  |  |  |  |  |
| - Containers clearly labeled |  |  |  |  |  |  |  |  |
|  | First Aid |  |  |  |  |  |  |  |
| - First aid cabinet clearly labeled & accessible |  |  |  |  |  |  |  |  |
| - Employees aware of location of first aid cabinet |  |  |  |  |  |  |  |  |
| - Emergency numbers displayed |  |  |  |  |  |  |  |  |
| - Adequate stocks in first aid cabinet |  |  |  |  |  |  |  |  |
|  | Snake safety (Seawinds) |  |  |  |  |  |  |  |
| - Snake habitat and hiding places minimised |  |  |  |  |  |  |  |  |
| - Plant Protection number clearly displayed |  |  |  |  |  |  |  |  |
| - Snake bandage in first aid kit – First aid drawer |  |  |  |  |  |  |  |  |
|  | Office Hazards |  |  |  |  |  |  |  |
| - Chairs, desks no issues |  |  |  |  |  |  |  |  |
| - Glare from windows |  |  |  |  |  |  |  |  |
| - Air conditioning system maintained regularly |  |  |  |  |  |  |  |  |

General Comments: